## Sheet1
UV-1800 UV-VIS SPECTROPHOTOMETER - DATA REPORT
Software: UVProbe v2.70
Date: 12-Sep-2026 Time: 14:32
Operator: J. Alharbi
Method: Total Phenolic Content (Folin-Ciocalteu), 765 nm
Calibration Standards (Gallic Acid Equivalent)
Std | Conc (ug/mL) | Abs (765nm)
Blank | 0 | 0.002
Std 1 | 10 | 0.101
Std 2 | 20 | 0.19
Std 3 | 40 | 0.368
Std 4 | 80 | 0.724
Std 5 | 160 | 1.436
Sample Extracts
Sample Name | Abs 1 | Abs 2 | Abs 3 | Mean Abs | Dilution Factor | TPC (mg GAE/g)
Rosemary Extract | 0.508 | 0.515 | 0.513 |  | 1
Green Tea Extract | 0.687 | 0.695 | 0.69 |  | 1
Turmeric Extract | 0.298 | 0.305 | 0.301 |  | 1
Ginger Extract | 0.415 | 0.409 | 0.421 |  | 1
Clove Extract | 0.876 | 0.881 | 0.869 |  | 1
Cinnamon Extract | 0.203 | 0.198 | 0.207 |  | 5
Black Pepper Extract | 0.156 | 0.161 | 0.152 |  | 5
Thyme Extract | n.d. | 0.234 | 0.229 |  | 5
Note: Samples 6-8 (Cinnamon, Black Pepper, Thyme) diluted 1:5 with distilled water prior to assay due to high initial absorbance.
Calibration curve: y = 0.0089x + 0.0123 (R^2 = 0.9967)
n.d. = not detected / reading rejected (turbidity interference)